## Results
HERS 2019A Method Tests |  |  |  | Software Name:
(for use with Pub 002-2020)
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Test Case | HERS Index | Reference Home End Use Loads (REUL) |  |  | Reference Home End Use Energy Consumption (EC_r) |  |  | Rated Home End Use Energy Consumption (EC_x) |  |  |  | IADSAVE (%) | HERS Index Tests | Manufacturer's Equipment Performance Rating (MEPR)
|  | Winter | Summer | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | L&A |  |  | Heating |  | Cooling |  | Hot Water
|  | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) |  |  | Fuel | MEPR | Fuel | MEPR | Fuel | MEPR
L100A-01 | [12 empty] | #DIV/0! | elec | 6.8 | elec | 10 | elec | 0.88
L100A-02 | [12 empty] | #DIV/0! | elec | 6.8 | elec | 10 | gas | 0.82
L100A-03 | [12 empty] | #DIV/0! | gas | 78% | elec | 10 | elec | 0.88
L100A-04 | [12 empty] | #DIV/0! | elec | 9.85 | elec | 10 | elec | 0.88
L100A-05 | [12 empty] | #DIV/0! | gas | 96% | elec | 10 | elec | 0.88

## Worksheet
Test Case | Coefficients | [5 empty] | DSE_r |  |  | EEC_x |  |  | EEC_r |  |  | nEC_x |  |  | nMEUL |  |  | Index Adjustment Factor |  |  |  | Total Loads |  | HERS Score
| Heating |  | Cooling |  | Hot Water |  | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | IAFCFA | IAFNbr | IAFNS | IAFRH | TnML | TRL
| a | b | a | b | a | b
1 | 2.2561 | 0 | 3.809 | 0 | 0.92 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0.50191 | 0.3413 | 1.1364 | 0.44325 | 0.26254 | 1.087 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1 | 1 | 1 | 1 | #DIV/0! | 20.4461 | #DIV/0!
2 | 2.2561 | 0 | 3.809 | 0 | 1.1877 | 1.013 | #DIV/0! | #DIV/0! | #DIV/0! | 0.50191 | 0.3413 | 1.3256 | 0.44325 | 0.26254 | 1.6949 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1 | 1 | 1 | 1 | #DIV/0! | 22.4205 | #DIV/0!
3 | 1.0943 | 0.403 | 3.809 | 0 | 0.92 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 1.2821 | 0.3413 | 1.1364 | 1.2821 | 0.26254 | 1.087 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1 | 1 | 1 | 1 | #DIV/0! | 21.2751 | #DIV/0!
4 | 2.2561 | 0 | 3.809 | 0 | 0.92 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0.3465 | 0.3413 | 1.1364 | 0.44325 | 0.26254 | 1.087 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1 | 1 | 1 | 1 | #DIV/0! | 21.3955 | #DIV/0!
5 | 1.0943 | 0.403 | 3.809 | 0 | 0.92 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 1.0417 | 0.3413 | 1.1364 | 1.2821 | 0.26254 | 1.087 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1 | 1 | 1 | 1 | #DIV/0! | 22.4205 | #DIV/0!
Test Case | Home |  |  | Lighting & Appliance Energy Uses
| CFA | Nbr | NS | resMELs | intLgt | extLgts | Fridg | TVs | R/O | cDryer | dWash | cWash | total
1 | 1539 | 3 | 1 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 1.529 | 2.5154 | 0.45051 | 0.33812 | 20.4461
2 | 1539 | 3 | 1 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 3.1748 | 2.8439 | 0.45051 | 0.33812 | 22.4205
3 | 1539 | 2 | 1 | 4.7798 | 5.7549 | 0.60392 | 2.2969 | 1.8805 | 2.8956 | 2.4085 | 0.3686 | 0.28631 | 21.2751
4 | 1539 | 4 | 1 | 4.7798 | 5.7549 | 0.60392 | 2.4198 | 2.3515 | 1.6621 | 2.901 | 0.53242 | 0.38993 | 21.3955
5 | 1539 | 3 | 1 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 3.1748 | 2.8439 | 0.45051 | 0.33812 | 22.4205