## Results
RESNET HVAC Test Suite Results: | [5 empty] | Software Name:
Pub 002-2020 (Nov 2020)
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Results
Cooling tests: | [6 empty] | Criteria
| Case | Cooling Energy Use (MBtu) | Cooling Fan Energy Use (MBtu) | Total Cooling Energy Use (MBtu) | % change |  | Min | Max
| HVAC-1a |  |  | 0 | ---
| HVAC-1b |  |  | 0 | #DIV/0! |  | -24.59% | -18.18% | #DIV/0!
Heating tests:
| Case | Heating Energy Use (MBtu) | Heating Fan Energy Use (MBtu) | Total Heating Energy Use (MBtu) | % change
| HVAC-2a |  |  | 0 | ---
| HVAC-2b |  |  | 0 | #DIV/0! |  | -13.13% | -12.6% | #DIV/0!
| Case | Heating Energy Use (MBtu) | Heating Fan Energy Use (MBtu) | Total Heating Energy Use (MBtu) | % change
| HVAC-2c |  |  | 0 | ---
| HVAC-2d |  |  | 0 | #DIV/0! |  | -42.73% | -15.88% | #DIV/0!
| HVAC-2e |  |  | 0 | #DIV/0! |  | 59.35% | 110.2% | #DIV/0!
Plot Data: |  | HVAC-1b | HVAC-2b | HVAC-2d
| Min | -24.59% | -13.13% | -42.73%
| Max | -18.18% | -12.6% | -15.88%
| Avg | -21.38% | -12.86% | -29.31%
| Result | #DIV/0! | #DIV/0! | #DIV/0!
HVAC-2e
| Min | 59.35%
| Max | 110.2%
| Avg | 84.8%
| Result | #DIV/0!