**Comment/Explanation\*:***Include your justification for your proposed change to the draft standard below.*  
\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(Pg. 27)

Table 10.1.1 Dimension Takeoff Guidance

Include rule of thumb quantities for structural items including but not limited to: reinforcement (mesh), reinforcement (rebar) footings, reinforcement (rebar) pads, piers & piles, reinforcement (rebar) – foundation walls. A HERS rater is unfamiliar with these quantities and will have trouble determining the amount without the help of a structural engineer. To streamline the process, add rule of thumb quantities to *Table 10.1.1 Dimension Takeoff Guidance.*

**Proposed Change to the Draft Standard\***  
*Use “strikethrough” and “underline” formatting to indicate all proposed changes. Changes must be shown with “hard-formatting” strikethrough and underline, not “track changes”.*

*Use a color other than red to indicate proposed changes to the draft.*\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Add rule of thumb quantities to structural elements within *Table 10.1.1 Dimension Takeoff Guidance.*